## Slide 1
How to Change an elbow
Step 1
AT
V
C
A
R
D
I
F
F
A
U
D
I
O
L
O
G
Y
T
E
A
M
T
I
M
A
W
D
I
O
L
E
G
C
A
E
R
D
Y
D
D
A
’
R
F
R
O
^
Audiology Clinic
Clinic 9, Outpatients
University Hospital of Wales
Heath Park Way
Cardiff
CF14 4xw
Tel: 029 218 43179
Mobile (Text Only): 07805 670 359
Email: Audiology.Helpline.CAV@Wales.nhs.uk
Below is the existing hearing aid with the elbow. To remove the elbow unscrew this from the hearing aid.
Step 2
Screw the new elbow on to the hearing aid.
Step 3
Make sure the elbow is fully screwed. Throw the old elbow away in the bin.
The hearing aid can now be attached to the tubing.
Elbow
Notes: Colours (RGB):
Blue Text = 0 130 155
Turquoise Background = 170 219 207