## Slide 1
How To Trim Earmould Tubing
AT
V
C
A
R
D
I
F
F
A
U
D
I
O
L
O
G
Y
T
E
A
M
T
I
M
A
W
D
I
O
L
E
G
C
A
E
R
D
Y
D
D
A
’
R
F
R
O
^
Audiology Clinic
Clinic 9, Outpatients
University Hospital of Wales
Heath Park Way
Cardiff
CF14 4XW
Tel: 029 218 43179
Mobile (Text Only): 07805 670 359
Email: Audiology.Helpline.CAV@Wales.nhs.uk
Step 1: Your earmould will have long tubing, like this
Step 2: Put the earmould in your ear, ensuring you insert it correctly.
Step 3: Put the hearing aid behind the ear, mark the point where the hearing aid meets the tubing (see arrow)
Step 4: Trim the tubing to the marked length and then connect the tubing to the hearing aid elbow (hook)
For a video guide scan the QR code or search ‘How to Cut the Earmold Tube on
your Hearing Aid’ on YouTube.
Please note:
If you cannot fit your earmould yourself, please attend our walk in service and bring your new earmould and your hearing aid along with you.
UHW (Cardiff) Monday - Friday (excluding bank holidays) 9am-12pm and 1.30pm-4pm
West Quay Medical Centre (Barry)
Tuesday & Thursday only
9am-12pm and 1.30pm-4pm
Please take a number and a seat
Notes: Colours (RGB):
Blue Text = 0 130 155
Turquoise Background = 170 219 207